## Primer testing
|  |  | Genotyping Multiplex PCR Protocol | [7 empty] | Aquatic Ecology
Created by MT |  |  | created on 22.07.2016 |  |  |  | Version 2016.01
Multiplex PCR Protocol for: | [6 empty] | Myzus persicae - M2
Reagents |  |  | Lot No/Primer names |  |  |  | Concentration |  | Date of preparation/dilution (Flab:Ftot)
ddH2O | [8 empty] | nuclease free water
2x Multiplex Mastermix |  |  | NEEDS HOTSTART !!! |  |  |  | 2 | x | selbst aliquotiert - f.u.: dd.mm.yyyy
BSA (10mg/ml) |  |  | - |  |  |  | 10 | mg/ml | -
Primermix 1 |  |  | M37 - ATTO550 |  |  |  | 20 | μM | dd.mm.yyyy (01:01)
Primermix 2 |  |  | M40 - FAM |  |  |  | 20 | μM | dd.mm.yyyy (01:01)
Primermix 3 |  |  | M63 - ATTO565 |  |  |  | 20 | μM | dd.mm.yyyy (01:01)
Primermix 4 |  |  | M86 - ATTO565 |  |  |  | 20 | μM | dd.mm.yyyy (01:01)
Primermix 5 |  |  | M107 - ATTO532 |  |  |  | 20 | μM | dd.mm.yyyy (01:01)
Primermix 6 |  |  | myz2 - FAM |  |  |  | 20 | μM | dd.mm.yyyy (01:01)
Primermix 7 |  |  | myz9 - ATTO550 |  |  |  | 20 | μM | dd.mm.yyyy (01:01)
|  |  | Sample names |  |  |  | Date of Extraction |  |  | Volume p. reaction |  | Concentration
Sample DNA |  |  | see below |  |  |  | various dates |  |  | 1 | μl | 20 | ng/μl
Procedure:
1. Fill in grey fields below
PCR program name |  |  |  | Annealing temp (°C) |  |  |  | Cycles |  | PCR machine |  |  | BSA (µl)
Multiplex PMS2 Hot |  |  |  | 47 |  |  |  | 30 |  | Cycler | 01 - Red Queen |  | 0
Total Nr of PCR reactions |  |  |  | Plus volume (%) |  |  | Total volume of Taq mix (μl) |  |  |  | Taq activation (t)
16 |  |  |  | 5 |  |  | 84 |  |  |  | 15 | min
2. Fill in volume of each primer mix added to the multiplex reaction in table below, make sure that volume of ddH20 does not get negative!
3. Into PCRK of the test add compontens I-IX and mix well
4. Distribute : |  | 9 | μl of Mix into PCR wells
5. Add : |  | 1 | μl of sample DNA or positive/negataive control into each PCR well
|  |  | Mix per Test |  |  | Mix per reaction |  | Final concentration |  |  | PCR program: Multiplex PMS2 Hot
ddH2O |  |  | 52.08 | μl (I) | □ | 3.1 | μl |  |  |  | heated lid |  | 98°C
2x Multiplex Mastermix |  |  | 84 | μl (II) | □ | 5 | μl | 1 | x |  | 95 | °C | 15 min
BSA |  |  | 0 | μl (III) | a | 0 | μl | 0 | μg/μl
Primer 1 | M37 - ATTO550 |  | 0 | μl (IV) | a | 0 | μl | 0 | μM |  | 94 | °C | 30 sec
Primer 2 | M40 - FAM |  | 5.04 | μl (V) | □ | 0.3 | μl | 0.6 | μM |  | 55 - 49 | °C | 90 sec | 4x (-2°C)
Primer 3 | M63 - ATTO565 |  | 0 | μl (VI) | a | 0 | μl | 0 | μM |  | 72 | °C | 60 sec
Primer 4 | M86 - ATTO565 |  | 5.04 | μl (VII) | □ | 0.3 | μl | 0.6 | μM |  | 94 | °C | 30 sec
Primer 5 | M107 - ATTO532 |  | 0 | μl (VIII) | a | 0 | μl | 0 | μM |  | 47 | °C | 90 sec | 30x
Primer 6 | myz2 - FAM |  | 0 | μl (IX) | a | 0 | μl | 0 | μM |  | 72 | °C | 60 sec
Primer 7 | myz9 - ATTO550 |  | 5.04 | μl (IX) | □ | 0.3 | μl | 0.6 | μM |  | 60 | °C | 30 min
[11 empty] | 10 | °C | ∞
Total: |  |  | 151.2 | μl |  | 9 | μl
Sample DNA / controls | [5 empty] | 1 | μl | 2 | ng/µl |  |  |  |  | 2x HotstarTaq-Mix ("SIGMA")
Final volume | [5 empty] | 10 | μl | [6 empty] | 2x Multiplex Mastermix
Sample order:
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1 | 9 | [10 empty] | A
B | 2 | 10 | [10 empty] | B
C | 3 | 11 | [10 empty] | C
D | 4 | 12 | [10 empty] | D
E | 5 | 13 | [10 empty] | E
F | 6 | 14 | [10 empty] | F
G | 7 | 15 | [10 empty] | G
H | 8 | PCRK | [10 empty] | H
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Notes: | PCR products were diluted 1:5 before mixing with LIZ/formamide
1.2µl of PCR product loaded into 10µl of LIZ/formamide Mix (LIZ:formamide = 20µl : 1'000µl)
Project Group: |  |  | Organism: |  |  |  |  | Date: |  |  | Person in charge:
CV |  |  | Myzus persicae |  |  |  |  | dd-mm-yyyy